SIFF 2026

Singapore International Food Forum 2026

Oxy Thru 0.2L as a Reliable Vessel for
Multi-Species Cultivated Meat Production

GA Helenaa, Y. Takagakib, N. Funamotob,  S. Tatsumib,  M. Yui a, I. Kawashima a , Y. Hanyu a

a Integriculture Inc., Shonan Health Innovation Park A32F 3111, 2-26-1 Muraokahigashi, Fujisawa, Kanagawa 251-8555, Japan

b Sumitomo Riko Co., Ltd., JP Tower Nagoya, 1-1-1 Meieki, Nakamura-ku, Nagoya-shi, Aichi 450-6316, Japan

Abstract

Advancements in cell-cultured food are currently hindered by the lack of specialized hardware to maintain consistent, convenient, and high-quality yields [1, 2]. There is an urgent need for reliable, specialized culture vessels that bridge the gap between bench-top research and industrial scaling without compromising biological output. [3]. The Oxy Thru 0.2 L cultivator addresses this challenge as a solution designed to meet the diverse metabolic demands of cellular agriculture across various species. A key feature of this system is the integration of a solid gas exchange through PDMS (Polydimethylsiloxane) material of the vessel synergistically combined with packed bed culture system. These both synergistically provide robust gas exchange facilitation and a wider surface area for adherent cell growth [4]. Preliminary research demonstrates that the Oxy Thru 0.2 L offers superior performance and versatility relative to traditional static glass reactors. Using this packed bed, scaffold-based culture approach, we evaluated a broad range of cell lines, including avian, ungulate, and teleost cell lines. The results showed that all tested cell types were able to proliferate within the vessel, yielding a comparatively higher total viable cell number than those in static glass bioreactors. This consistent improvement across cell lines from these species is attributed to the vessel’s optimized gas exchange and nutrient distribution through the packed bed system. The Oxy Thru 0.2 L provides a high-performance environment suitable for diverse cell types, facilitating the transition from bench-top research to industrial scale. By addressing core reliability issues in cellular agriculture, this platform establishes the framework needed to make cultivated meat production more efficient.

References

[1] C. J. Ngwa, K.-H. Chiu, K. J. Brenner, C. Rodrigues, Z. Peršin Fratnik, J. Vajda, B. Vihar, J. Morales-Dalmau, F. Castelo Ferreira, M. Henkel, and S. Schillberg, “Bioreactor parameters and systems for cultured meat production,” Future Foods, Vol. 12, p. 100796, 2025.

[2] M. Li, L.-Y. Chin, S. Shukor, A. Tamayo, M. V. Maus, and B. Parekkadan, “Closed loop bioreactor system for the ex vivo expansion of human T-cells,” Cytotherapy, Vol. 22, No. 5, pp. 273-281, 2020. 

[3] P. Bajgain, R. Mucharla, J. Dindzans-Kulkarni, L. Guo, and J. F. Vera, “Optimizing the production of suspension cells using the G-Rex ‘M’ series,” Molecular Therapy: Methods & Clinical Development, Vol. 1, p. 14015, 2014.

[4] C. J. Ochs, J. Kasuya, A. Pavesi, and R. D. Kamm, “Oxygen levels in thermoplastic microfluidic devices during cell culture,” Lab on a Chip, Vol. 14, No. 3, pp. 459–462, 2014.

* Corresponding author E-mail address: grace.helena@integriculture.com