SIFF 2026

Singapore International Food Forum 2026

A QuEChERS-Based Extraction and LC–MS/MS Method for Screening Cannabinoids in Gummy Matrices

X.Y. Tanᵃ, G.S. Teoᵃ, M.W. Tanᵃ

ᵃ National Centre for Food Science (NCFS), Singapore Food Agency (SFA), 7 International Business Park, Singapore 609919

Abstract

This study describes a workflow for the screening of selected cannabinoids in gummy matrices using QuEChERS extraction coupled with LC–MS/MS. Target analytes included Cannabidiol (CBD), Cannabinol (CBN), Δ9-tetrahydrocannabinol (Δ9-THC), and tetrahydrocannabinolic acid (THCA). Method performance in the gummy matrix showed good linearity (R² ≥ 0.991), acceptable intra-day precision, and recoveries ranging from 91–125%, with limits of detection (LOD) and quantification (LOQ) 2 ppb and 5 ppb, respectively. No target cannabinoids were detected in the samples analysed under the conditions of this study. This workflow provides a simple approach for screening cannabinoids in gummy matrices.